## Asset
nama_jenis_equipment | nama_jenis_device | nama_merk | tipe_perangkat | model | pn | sn | nama_wilayah | nama_bangunan | nama_ruangan | nama_rak | satelit | tahun_pengadaan | fungsi | status | info | tanggal
RF EQUIPMENT | HPA | Advantech | SSPA 200 W | SSPA 200 W | ARMA 200 CX | AMT-C7601 | Banjarmasin | GEDUNG BJM | RF ROOM BJM | RO-RF-R3 | Telkom 2 | 2014 | OPERASIONAL | RUSAK | tk2 | 2019-12-31
RF EQUIPMENT | LNA | General Dynamics | C-Band | LCD4S30-2X | N/A | 135485701 | Cibinong | ANTENNA | HUB ANTENNA | HUB-T2 | Telkom 2 | 2014 | OPERASIONAL | BAIK | antena 4,8m SN: 15-512 | 2019-12-31
RF EQUIPMENT | LNA | General Dynamics | C-Band | LCD4S30-2X | N/A | 135485801 | Cibinong | ANTENNA | HUB ANTENNA | HUB-T2 | Telkom 2 | 2014 | OPERASIONAL | BAIK | antena 4,8m SN: 15-512 | 2019-12-31
RF EQUIPMENT | UP CONVERTER | Miteq | C-Band | C-Band | U-9953-6-1K | 1839633 | Banjarmasin | GEDUNG BJM | RF ROOM BJM | RO-RF-R2 | Telkom 2 | 2014 | OPERASIONAL | BAIK | T2 | 2019-12-31
ACCESSORIES | REDUNDANCY CONTROL UNIT (RCU) | Specialty Microwave | HPA Switch | N/A | 10419-500 | ACC-RCU-003 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | REDUNDANCY CONTROL UNIT (RCU) | Vertex RSI | TX Switch | RSUN-B/S-LC | N/A | ACC-RCU-001 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
RF EQUIPMENT | UP CONVERTER | Miteq | C-Band | U-9693-6 | N/A | 883887 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
RF EQUIPMENT | UP CONVERTER | Miteq | C-Band | U-9693-1 | N/A | 966127 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | PATCH PANEL | Specialty Microwave | In/Out UC | N/A | N/A | ACC-PP-030 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
BASEBAND | MODEM | Comtech | Satelitte Modem | CDM-600 | 1232 | 052159299 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R1 | Telkom 2 | 2011 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | DEHYDRATOR | Environmental Technologies | ADH-3COM | N/A | N/A | 0746 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
SERVER & NETWORK ELEMENT | ETHERNET | Allied Telesis | Ethernet Switch | N/A | AT-FS716 | SNE-ETH-014 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
SERVER & NETWORK ELEMENT | NETWORK SERIAL ADAPTER | Device Master | N/A | N/A | N/A | SNE-NSA-001 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
SERVER & NETWORK ELEMENT | NETWORK SERIAL ADAPTER | Device Master | N/A | N/A | N/A | SNE-NSA-002 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
MEASURING INSTRUMENT | POWER METER | Agilent | N/A | N/A | E4418B | MIS-PM-001 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R2 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | SWITCH | Specialty Microwave | Test Loop Switch (TLS) | N/A | 1049-501 | 1049-001 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R2 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | REDUNDANCY CONTROL UNIT (RCU) | Vertex RSI | LNA Switch | N/A | RSC1200.1007 | M092201 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R2 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ANTENNA | DIGITAL TRACKING RECEIVER (DTR) | Vertex RSI | N/A | N/A | 200800-500010 | VC14602 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R2 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ANTENNA | MANUAL CONTROL UNIT (MCU) | Vertex RSI | N/A | N/A | 201534-01 | VC14599 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R2 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ANTENNA | ANTENNA CONTROL UNIT (ACU) | Vertex RSI | N/A | 7205 | 201446-330 | VCB031100005 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R2 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | REDUNDANCY CONTROL UNIT (RCU) | Miteq | RX Switch | N/A | RSUN-B/S-LC | ACC-RCU-002 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R2 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
RF EQUIPMENT | DOWN CONVERTER | Miteq | C-Band | D-9641-1 | N/A | 968882 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R2 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
RF EQUIPMENT | DOWN CONVERTER | Miteq | C-Band | D-9641-1 | N/A | 967705 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R2 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | POWER SUPPLY | CPI | PSU KPA 2,4 KW | use RF1010 | 01029240.04 | ACC-PSU-1009 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R3 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
RF EQUIPMENT | HPA | CPI | C-Band 2,4 KW | use RF1010 | 0102943500 | 1010 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R4 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | POWER SUPPLY | CPI | PSU KPA 2,4 KW | use RF1010 | 01029240.04 | ACC-PSU-1010 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R4 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
RF EQUIPMENT | HPA | CPI | C-Band 355 W | VZC6964AA | 101859003 | SB6239H6 | Cibinong | SHELTER | SHELTER T2 | SH-T2-R4 | Telkom 2 | 2011 | OPERASIONAL | BAIK |  | 2019-12-31
ANTENNA | ANTENNA DRIVE UNIT (ADU) | Vertex RSI | N/A | N/A | N/A | ANT-ADU-001 | Cibinong | SHELTER | SHELTER T2 | SH-T2-ADU | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ANTENNA | MOTOR | Vertex RSI | Elevasi | N/A | N/A | ANT-MOT-001 | Cibinong | ANTENNA | HUB T2 9 M | HUB-T2-9M | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ANTENNA | MOTOR | Vertex RSI | Azimut | N/A | N/A | ANT-MOT-002 | Cibinong | ANTENNA | HUB T2 9 M | HUB-T2-9M | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | TEST LOOP TRANSLATOR (TLT) | Miteq | C-Band | LO = 2225 MHz | N/A | ACC-TLT-001 | Cibinong | ANTENNA | HUB T2 9 M | HUB-T2-9M | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
RF EQUIPMENT | LNA | Vertex RSI | C-Band | 3400 - 4200 MHz. 65 dB | LCCS430-XX | N842602 | Cibinong | ANTENNA | HUB T2 9 M | HUB-T2-9M | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
RF EQUIPMENT | LNA | Vertex RSI | C-Band | 3400 - 4200 MHz. 65 dB | LCCS430-XX | 0287201 | Cibinong | ANTENNA | HUB T2 9 M | HUB-T2-9M | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ANTENNA | OPTICAL ENCODER | Heidenhain | Elevasi | N/A | SS125 | 57136800B | Cibinong | ANTENNA | HUB T2 9 M | HUB-T2-9M | Telkom 2 | 2016 | OPERASIONAL | BAIK |  | 2019-12-31
ANTENNA | OPTICAL ENCODER | Heidenhain | Azimut | N/A | SS125 | 42228600 | Cibinong | ANTENNA | HUB T2 9 M | HUB-T2-9M | Telkom 2 | 2017 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | REDUNDANCY CONTROL UNIT (RCU) | Varian | HPA Switch | VJC6767S2CMU | N/A | ACC-RCU-574 | Cibinong | GEDUNG UTAMA | HPA ROOM | RO-HPA-R8 | Telkom 2 | 2010 | OPERASIONAL | BAIK | Jamming T2 | 2019-12-31
RF EQUIPMENT | HPA | Comtech | TWTA C-Band 750 W | XTRT-750C | 305-1195-018 | 57612 | Cibinong | GEDUNG UTAMA | HPA ROOM | RO-HPA-R8 | Telkom 2 | 2010 | OPERASIONAL | BAIK | Jamming T2 | 2019-12-31
RF EQUIPMENT | HPA | Comtech | TWTA C-Band 750 W | XTRT-750C | 305-1195-018 | 57611 | Cibinong | GEDUNG UTAMA | HPA ROOM | RO-HPA-R8 | Telkom 2 | 2010 | OPERASIONAL | BAIK | Jamming T2 | 2019-12-31
ACCESSORIES | PATCH PANEL | Custom | to RF U/L | N/A | N/A | ACC-PP-011 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R1 | Telkom 2 | 2004 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | SWITCH | Quintech | Matrix Switch Router | N/A | N/A | 03679-0001 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R1 | Telkom 2 | 2004 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | PATCH PANEL | Custom | from Baseband U/L | N/A | N/A | ACC-PP-012 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R1 | Telkom 2 | 2004 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | PATCH PANEL | Custom | to Baseband D/L | N/A | N/A | ACC-PP-013 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R1 | Telkom 2 | 2004 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | SWITCH | Quintech | Matrix Switch Router | N/A | N/A | 03679-0002 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R1 | Telkom 2 | 2004 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | PATCH PANEL | Custom | from Baseband D/L | N/A | N/A | ACC-PP-014 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R1 | Telkom 2 | 2004 | OPERASIONAL | BAIK |  | 2019-12-31
BASEBAND | BASEBAND UNIT | Zodiac | Cortex Data | F250651 | N/A | BB-BBU-T2-01 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R1 | Telkom 2 | 2004 | OPERASIONAL | BAIK |  | 2019-12-31
BASEBAND | BASEBAND UNIT | Zodiac | Cortex Data | F250651 | N/A | BB-BBU-T2-02 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R1 | Telkom 2 | 2004 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | RECEIVER | Symmetricom | GPS Receiver | 1510-602 | 86-8013 | LMF032630519 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R1 | Telkom 2 | 2004 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | RECEIVER | Symmetricom | GPS Receiver | 1510-602 | 86-8013 | LMF032630522 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R1 | Telkom 2 | 2004 | OPERASIONAL | BAIK |  | 2019-12-31
SERVER & NETWORK ELEMENT | ETHERNET | COMTROL | Ethernet Hub | 300018 | N/A | 8761-000740 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R1 | Telkom 2 | 2004 | OPERASIONAL | BAIK |  | 2019-12-31
SERVER & NETWORK ELEMENT | SERVER UNIT | Sun | SunFire V120 | N/A | N/A | FF32530059 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R8 | Telkom 2 | 2006 | OPERASIONAL | BAIK | CBIENGDRS4A | 2019-12-31
SERVER & NETWORK ELEMENT | SERVER UNIT | Sun | StoreEdge 3300 | N/A | 0001365-0304011640 | 3705398-01 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R8 | Telkom 2 | 2006 | OPERASIONAL | BAIK | CBIENGDRS4A | 2019-12-31
SERVER & NETWORK ELEMENT | SERVER UNIT | Sun | SunFire V120 | N/A | N/A | FF32120004 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R8 | Telkom 2 | 2006 | OPERASIONAL | BAIK | CBIENGDRS4A | 2019-12-31
SERVER & NETWORK ELEMENT | KVM | HP | KVM Switch | N/A | N/A | SNE-KVM-005 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R8 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
SERVER & NETWORK ELEMENT | ETHERNET | Cisco | Ethernet HUB | ASA5516 | N/A | SNE-ETH-023 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R8 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
SERVER & NETWORK ELEMENT | ETHERNET | Cisco | Ethernet Switch | Cisco 2600 | N/A | SNE-ETH-024 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R8 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
SERVER & NETWORK ELEMENT | ETHERNET | Cisco | Ethernet Switch | Cisco 2600 | N/A | SNE-ETH-025 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R8 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
SERVER & NETWORK ELEMENT | ETHERNET | Cisco | Ethernet Switch | Cisco 2600 | N/A | SNE-ETH-026 | Cibinong | GEDUNG UTAMA | BASEBAND CONSOLE ROOM | RO-BBRC-R8 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
WORKSTATION | WORKSTATION OPERASIONAL | Sun |  | Sun Blade 150 | N/A | WSO-T2-001 | Cibinong | GEDUNG UTAMA | SATELLITE CONTROL ROOM | RO-SCO-M1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
WORKSTATION | WORKSTATION OPERASIONAL | Sun |  | Sun Blade 150 | N/A | WSO-T2-002 | Cibinong | GEDUNG UTAMA | SATELLITE CONTROL ROOM | RO-SCO-M1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
WORKSTATION | WORKSTATION ENGINEERING | HP |  | WS XW3100 | N/A | WSE-T2-001 | Cibinong | GEDUNG UTAMA | SATELLITE CONTROL ROOM | RO-SCO-M1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
WORKSTATION | WORKSTATION ENGINEERING | HP |  | WS XW3100 | N/A | WSE-T2-002 | Cibinong | GEDUNG UTAMA | SATELLITE CONTROL ROOM | RO-SCO-M1 | Telkom 2 | 2006 | OPERASIONAL | RUSAK |  | 2019-12-31
RF EQUIPMENT | HPA | Advantech | C-Band | ARMA-CX25-CRM | 100-582280-1G0 | AMT-C11510 | Manado | SHELTER | SHELTER TAR MANADO | SH-TAR-R2 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
RF EQUIPMENT | UP CONVERTER | General Dynamics | C-Band | SCR 6000 BU | SCR 6000 BU-17F | 118690801 | Manado | SHELTER | SHELTER TAR MANADO | SH-TAR-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | REDUNDANCY CONTROL UNIT (RCU) | LNR Comm. | Manual Control | RCU-TX | 506011300-5 | 1402 | Manado | SHELTER | SHELTER TAR MANADO | SH-TAR-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK | Belum terkoneksi | 2019-12-31
RF EQUIPMENT | DOWN CONVERTER | General Dynamics | C-Band | SCR 4000 BD | SCR 4000 BD-17F | 118691001 | Manado | SHELTER | SHELTER TAR MANADO | SH-TAR-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
ACCESSORIES | REDUNDANCY CONTROL UNIT (RCU) | LNR Comm. | Manual Control | RCU-RX | 506011300-5 | 1774 | Manado | SHELTER | SHELTER TAR MANADO | SH-TAR-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK | Belum terkoneksi | 2019-12-31
ACCESSORIES | BAND PASS FILTER | Reactel, INC | C-Band | 4C10-70-0-4B11 | N/A | 1152018 | Manado | SHELTER | SHELTER TAR MANADO | SH-TAR-R1 | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
RF EQUIPMENT | LNA | N/A | C-Band | N/A | N/A | RF-LNA-001 | Manado | ANTENNA | MDO HUB | HUB 7M | Telkom 2 | 2006 | OPERASIONAL | BAIK |  | 2019-12-31
AIR CONDITIONING | AC PRECISION | COMPAC | 3 PK | AVP48ACD09NU-1000 | F0000985-00-00 | ACPRCOMPAC001ST2 | Cibinong | SHELTER | SHELTER T2 | N/A | Telkom 2 | 2005 | OPERASIONAL | BAIK | OPS NORMAL | 2019-12-31
AIR CONDITIONING | AC PRECISION | COMPAC | 3 PK | AVP48ACD09NU-1001 | F0000985-00-00 | ACPRCOMPAC002ST2 | Cibinong | SHELTER | SHELTER T2 | N/A | Telkom 2 | 2005 | OPERASIONAL | BAIK | OPS NORMAL | 2019-12-31