## data parametert3s
T3SC-DHYS | T3SC-DHY915 | Status
T3SC-DHYPr | T3SC-DHY915 | Presure
T3SC-HPA6S | T3SC-HPA6K0 | Status
T3SC-HPA6Rf | T3SC-HPA6K0 | RF Output
T3SC-HPA6At | T3SC-HPA6K0 | Attenuation
T3SC-HPA6BV | T3SC-HPA6K0 | Beam Voltage
T3SC-HPA6HV | T3SC-HPA6K0 | Heater Voltage
T3SC-HPA6RRf | T3SC-HPA6K0 | Reflected RF
T3SC-HPA6IT | T3SC-HPA6K0 | Inlet Temperature
T3SC-HPA6BC | T3SC-HPA6K0 | Body Current
T3SC-HPA6Be | T3SC-HPA6K0 | Beacon
T3SC-HPA6BeC | T3SC-HPA6K0 | Beam Current
T3SC-HPA6HC | T3SC-HPA6K0 | Heater Current
T3SC-HPA6CT | T3SC-HPA6K0 | Cabinet Temperature
T3SC-HPA6OT | T3SC-HPA6K0 | Outlet Temperature
T3SC_PS6S | T3SC-PS6K0 | Status
T3SC-HPA8S | T3SC-HPA8K0 | Status
T3SC-HPA8Rf | T3SC-HPA8K1 | RF Output
T3SC-HPA8At | T3SC-HPA8K2 | Attenuation
T3SC-HPA8BV | T3SC-HPA8K3 | Beam Voltage
T3SC-HPA8HV | T3SC-HPA8K4 | Heater Voltage
T3SC-HPA8RRf | T3SC-HPA8K5 | Reflected RF
T3SC-HPA8IT | T3SC-HPA8K6 | Inlet Temperature
T3SC-HPA8BC | T3SC-HPA8K7 | Body Current
T3SC-HPA8Be | T3SC-HPA8K8 | Beacon
T3SC-HPA8BeC | T3SC-HPA8K9 | Beam Current
T3SC-HPA8HC | T3SC-HPA8K10 | Heater Current
T3SC-HPA8CT | T3SC-HPA8K11 | Cabinet Temperature
T3SC-HPA8OT | T3SC-HPA8K12 | Outlet Temperature
T3SC_PS8S | T3SC-PS8K0 | Status
T3SC-FO1S | T3SC-FO1 | Status
T3SC-FO2S | T3SC-FO2 | Status
T3SC-KVMS | T3SC-KVM | Status
T3SC-UPC12S | T3SC-UPC12 | Status
T3SC-UPC12Fr | T3SC-UPC12 | Frekuensi
T3SC-UPC12At | T3SC-UPC12 | Attenuation
T3SC-UPC11S | T3SC-UPC11 | Status
T3SC-UPC11Fr | T3SC-UPC11 | Frekuensi
T3SC-UPC11At | T3SC-UPC11 | Attenuation
T3SC-UPC10S | T3SC-UPC10 | Status
T3SC-UPC10Fr | T3SC-UPC11 | Frekuensi
T3SC-UPC10At | T3SC-UPC12 | Attenuation
T3SC-RCU24S | T3SC-RCU24 | Status
T3SC-RCU23S | T3SC-RCU23 | Status
T3SC-KVM2S | T3SC-KVM2 | Status
T3SC-HPA7S | T3SC-HPA7K0 | Status
T3SC-HPA7Rf | T3SC-HPA7K0 | RF Output
T3SC-HPA7At | T3SC-HPA7K0 | Attenuation
T3SC-HPA7BV | T3SC-HPA7K0 | Beam Voltage
T3SC-HPA7HV | T3SC-HPA7K0 | Heater Voltage
T3SC-HPA7RRf | T3SC-HPA7K0 | Reflected RF
T3SC-HPA7IT | T3SC-HPA7K0 | Inlet Temperature
T3SC-HPA7BC | T3SC-HPA7K0 | Body Current
T3SC-HPA7Be | T3SC-HPA7K0 | Beacon
T3SC-HPA7BeC | T3SC-HPA7K0 | Beam Current
T3SC-HPA7HC | T3SC-HPA7K0 | Heater Current
T3SC-HPA7CT | T3SC-HPA7K0 | Cabinet Temperature
T3SC-HPA7OT | T3SC-HPA7K0 | Outlet Temperature
T3SC-PS7K0S | T3SC-PS7K0 | Status
T3SC-ETHS | T3SC-ETH | Status
T3SC-RSC301S | T3SC-RSC301 | Status
T3SC-DC04S | T3SC-DC04 | Status
T3SC-DC04Fr | T3SC-DC04 | Frekuensi
T3SC-DC04At | T3SC-DC04 | Attenuation
T3SC-DC05S | T3SC-DC05 | Status
T3SC-DC05Fr | T3SC-DC05 | Frekuensi
T3SC-DC05At | T3SC-DC05 | Attenuation
T3SC-DC06S | T3SC-DC06 | Status
T3SC-DC06Fr | T3SC-DC06 | Frekuensi
T3SC-DC06At | T3SC-DC06 | Attenuation
T3SC-ACU160S | T3SC-ACU160 | Status
T3SC-ACU160Az | T3SC-ACU160 | Azimuth
T3SC-ACU160El | T3SC-ACU160 | Elevasi
T3SC-ACU160Po | T3SC-ACU160 | Polarization
T3SC-CONS | T3SC-CON | Status
T3SC-CONFr | T3SC-CON | Frekuensi
T3SC-CONAt | T3SC-CON | Attenuation
T3SC-MTR10S | T3SC-MTR10 | Status
T3SC-DTR141S | T3SC-DTR141 | Status
T3SC-DTR141Fr | T3SC-DTR141 | Frekuensi
T3SC-DTR141Rx | T3SC-DTR141 | Rx Level
T3SC-DTR141C | T3SC-DTR141 | C/No
T3SC-DTR141DAC | T3SC-DTR141 | DAC1
T3SC-RCU10S | T3SC-RCU10 | Status
T3SC-PPN01S | T3SC-PPN01 | Status
T3S-REC | T3S-REC | Status
T3S-RECGPS1 | T3S-REC | GPS1
T3S-RECGPS2 | T3S-REC | GPS2
T3S-RECNTP | T3S-REC | NTP
T3S-RECTIME | T3S-REC | TIME
T3S-RECUTC | T3S-REC | UTC
MP-HPA065s | MP-HPA065 | Status
MP-HPA065rfo | MP-HPA065 | RF Output
MP-HPA065rfs | MP-HPA065 | RF Setpoint
MP-HPA065at | MP-HPA065 | Attenuation
MP-HPA065ht | MP-HPA065 | HotSpot Tmp
MP-HPA065rrf | MP-HPA065 | Refl RF
MP-HPA065id | MP-HPA065 | Id
MP-HPA065vd | MP-HPA065 | Vd
MP-HPA065ct | MP-HPA065 | Cabinet Temp
MP-HPA065it | MP-HPA065 | Inlet Temp
MP-HPA065ps | MP-HPA065 | PS Temp
MP-HPA066s | MP-HPA066 | Status
MP-HPA066rfo | MP-HPA066 | RF Output
MP-HPA066rfs | MP-HPA066 | RF Setpoint
MP-HPA066at | MP-HPA066 | Attenuation
MP-HPA066ht | MP-HPA066 | HotSpot Tmp
MP-HPA066rrf | MP-HPA066 | Refl RF
MP-HPA066id | MP-HPA066 | Id
MP-HPA066vd | MP-HPA066 | Vd
MP-HPA066ct | MP-HPA066 | Cabinet Temp
MP-HPA066it | MP-HPA066 | Inlet Temp
MP-HPA066ps | MP-HPA066 | PS Temp
MP-HPA4D7s | MP-HPA4D7 | Status
MP-HPA4D7rfo | MP-HPA4D7 | RF Output
MP-HPA4D7at | MP-HPA4D7 | Attenuation
MP-HPA4D7bv | MP-HPA4D7 | Beam Voltage
MP-HPA4D7hv | MP-HPA4D7 | Heater Voltage
MP-HPA4D7rrf | MP-HPA4D7 | Reflected RF
MP-HPA4D7it | MP-HPA4D7 | Inlet Temperature
MP-HPA4D7boc | MP-HPA4D7 | Body Current
MP-HPA4D7bea | MP-HPA4D7 | Beacon
MP-HPA4D7beC | MP-HPA4D7 | Beam Current
MP-HPA4D7hc | MP-HPA4D7 | Heater Current
MP-HPA4D7ct | MP-HPA4D7 | Cabinet Temperature
MP-HPA4D7ot | MP-HPA4D7 | Outlet Temperature
MP-PSU4D7s | MP-PSU4D7 | Status
MP-RCU005s | MP-RCU005 | Status
MP-RCU128s | MP-RCU128 | Status
MP-SPA760s | MP-SPA760 | Status
MP-DCV821s | MP-DCV821 | Status
MP-DCV821fr | MP-DCV821 | Frequency
MP-DCV821ga | MP-DCV821 | Gain
MP-DCV822s | MP-DCV822 | Status
MP-DCV822fr | MP-DCV822 | Frequency
MP-DCV822ga | MP-DCV822 | Gain
MP-DCV823s | MP-DCV823 | Status
MP-DCV823fr | MP-DCV823 | Frequency
MP-DCV823ga | MP-DCV823 | Gain
MP-FO001s | MP-FO001 | Status
MP-KVM085s | MP-KVM085 | Status
MP-RCU355s | MP-RCU355 | Status
MP-RCU358s | MP-RCU358 | Status
MP-RCU535s | MP-RCU535 | Status
MP-RCV507s | MP-RCV507 | Status
MP-UPC815s | MP-UPC815 | Status
MP-UPC815fr | MP-UPC815 | Frequency
MP-UPC815ga | MP-UPC815 | Gain
MP-UPC816s | MP-UPC816 | Status
MP-UPC816fr | MP-UPC816 | Frequency
MP-UPC816ga | MP-UPC816 | Gain
MP-UPC817s | MP-UPC817 | Status
MP-UPC817fr | MP-UPC817 | Frequency
MP-UPC817ga | MP-UPC817 | Gain
MP-ACU842s | MP-ACU842 | Status
MP-ACU842az | MP-ACU842 | Azimuth
MP-ACU842el | MP-ACU842 | Elevasi
MP-ACU842po | MP-ACU842 | Polarizasi
MP-ACU842sig | MP-ACU842 | Signal
MP-ACU842fr | MP-ACU842 | Frequensi
MP-DHY773s | MP-DHY773 | Status
MP-DHY773pr | MP-DHY773 | Presurre
MP-DHY774s | MP-DHY774 | Status
MP-DHY774pr | MP-DHY774 | Presurre
MP-DTR376s | MP-DTR376 | Status
MP-DTR376il | MP-DTR376 | Input Level
MP-DTR376fr | MP-DTR376 | Frequency
MP-DTR376bw | MP-DTR376 | BandWith
MP-DTR376at | MP-DTR376 | Attenuation
MP-MCU506s | MP-MCU506 | Status
MP-RCU101s | MP-RCU101 | Status
MP-RCU578s | MP-RCU578 | Status
MP-SU001s | MP-SU001 | Status
MP-SU002s | MP-SU002 | Status